# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

###### KURO – Information for invitation to tender

PE Halbschalenbogen Nr

Nr**Product:**

#### PE bend for split duct

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PE bend for split duct one sided devided |
|  |  | bolts included / flexible to 90° |
|  |  | 110 x 5,0 mm (Plain end 100 mm)  System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PE bend for split duct one sided devided |
|  |  | bolts included / flexible to 90° |
|  |  | 120 x 5,0 mm (Plain end 110 mm)  System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PE bend for split duct one sided devided |
|  |  | bolts included / flexible to 90° |
|  |  | 160 x 9,5 mm (Plain end 140 mm) |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |