# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

######  KURO – Information for invitation to tender

 **Product:**

# Rohrverschlußbecher

#### PP end cap

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PP end cap 50 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PP end cap 63 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 75 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 85 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 90 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........  |
|  |  |  |
|  | Pos:....................... | PP end cap 106 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PP end cap 125 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 126 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 140 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 158 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PP end cap 160 mm / Colour: black |
|  |  | Material: PP dimensionally stable / suitable for socket and plain end |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |