# KURO_Logo

######  KURO – Information for invitation to tender

**Product:**

#

#### PP split duct pipe inclusive recycled material

3 red clamps included, very impact resistant

Angle of 10° per metre possible

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PP split duct pipe60 x 5,0 mm (50 mm) |
|  |  | inclusive integral seal socket |
|  |  | Length = 1000 mm / Colour: black |
|  |  | System KURO „Schnipp/Schnapp“ o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PP split duct pipe110 x 5,5 mm (99 mm) |
|  |  | inclusive integral seal socket |
|  |  | Length = 1000 mm / Colour: black |
|  |  | System KURO „Schnipp/Schnapp“ o. glw. |
|  |  | (www.kuro-kunststoffe.de),supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PP split duct pipe160 x 8,0 mm (144 mm) |
|  |  | inclusive integral seal socket |
|  |  | Length = 1000 mm / Colour: black |
|  |  | System KURO „Schnipp/Schnapp“ o. glw. |
|  |  | (www.kuro-kunststoffe.de),  |
|  |  | supply and install, as an addition to pos: ........... |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  |  |  |
|  | Pos:....................... | PP split duct pipe220 x 10,0 mm (200 mm) |
|  |  | inclusive integral seal socket |
|  |  | Length = 1000 mm / Colour: black |
|  |  | System KURO „Schnipp/Schnapp“ o. glw. |
|  |  | (www.kuro-kunststoffe.de),  |
|  |  | supply and install, as an addition to pos: ........... |
|  |  | Amount:............Pieces UP: ....... TP: ........ |