# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

######  KURO – Information for invitation to tender

**Product:**

#### PVC T-piece and cross-piece

# Information for invitation to tender:

****

|  |  |
| --- | --- |
| Pos:....................... | PVC T-Piece (Cube)Cube: 200 x 200 x 200 mm |
|  | Leavings: 3x 110x3,2 mm (with integral seal socket)Colour: black/grey |
|  | System KURO o. glw. (www.kuro-kunststoffe.de),  |
|  | supply and install, as an addition to pos: ........... |
|  |  |
|  | Amount:............Pieces UP: ....... TP: ........ |

****

****

|  |  |
| --- | --- |
| Pos:....................... | PVC Kreuzungspiece (Cube)Cube: 200 x 200 x 200 mm |
|  | Leavings: 4x 110x3,2 mm (with integral seal socket)Colour: black/grey |
|  | System KURO o. glw. (www.kuro-kunststoffe.de),  |
|  | supply and install, as an addition to pos: ........... |
|  |  |
|  | Amount:............Pieces UP: ....... TP: ........ |
| Pos:....................... | PVC T-PieceDimension: 110 x 3,2 mm |
|  | Leaving: 110 x 3,2 mm / Seal: 3 x integral seal socketColour: black/grey |
|  | System KURO o. glw. (www.kuro-kunststoffe.de),  |
|  | supply and install, as an addition to pos: ........... |
|  |  |
|  | Amount:............Pieces UP: ....... TP: ........ |
| Pos:....................... | PVC KreuzungspieceDimension: 110 x 3,2 mm / Seal: 3 x integral seal socket |
|  | Colour: black/grey |
|  | System KURO o. glw. (www.kuro-kunststoffe.de),  |
|  | supply and install, as an addition to pos: ........... |
|  |  |
|  | Amount:............Pieces UP: ....... TP: ........ |