# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

###### KURO – Information for invitation to tender

PVC Bogen SMR Nr**Product:**

**PVC cable protection bends with solvent welded socket**

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 11°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 15°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 22°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 30°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 45°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........  ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 60°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 3,7 mm / 90°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 11°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 15°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 22°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 30°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 45°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 60°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 125 x 6,0 mm / 90°  R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16875 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |