# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

######  KURO – Information for invitation to tender

**Product:**

**PVC cable protection bends with solvent welded socket**

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 11°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 15°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 22°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 30°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 45°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........  |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 60°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC Cable protection bend 200 x 4,0 mm / 90°R = 1000 mm / Material PVC / Colour: black |
|  |  | with solvent welded socket / DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |