# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

######  KURO – Information for invitation to tender

**Product:**

# Ein Bild, das Reihe, Rechteck, Entwurf, Screenshot enthält.  Automatisch generierte Beschreibung

#### PVC cable protection pipe with solvent welded socket

Length: 1000 mm

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC cable protection pipe 50 x 1,8 x 1000 mmwith solvent welded socket / PVC-U / without lead |
|  |  | in accordance with DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC cable protection pipe 63 x 1,9 x 1000 mmwith solvent welded socket / PVC-U / without lead |
|  |  | in accordance with DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC cable protection pipe 75 x 2,2 x 1000 mmwith solvent welded socket / PVC-U / without lead |
|  |  | in accordance with DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC cable protection pipe 90 x 2,7 x 1000 mmwith solvent welded socket / PVC-U / without lead |
|  |  | in accordance with DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |



|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC cable protection pipe 110 x 3,2 x 1000 mmwith solvent welded socket / PVC-U / without lead |
|  |  | in accordance with DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC cable protection pipe 110 x 5,3 x 1000 mmwith solvent welded socket / PVC-U / without lead |
|  |  | in accordance with DIN 16873 |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de) |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |