
# KURO_Logo

###### KURO – Information for invitation to tender



**Product:**

#### PVC split duct with H-profile

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 50 x 1,8 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 50 x 2,4 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 63 x 1,9 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 63 x 3,0 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 75 x 2,2 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  | KURO_Logo |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 75 x 3,6 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 85 x 2,5 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 90 x 2,7 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 90 x 4,3 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 106 x 3,0 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 110 x 5,3 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 125 x 3,7 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  | KURO_Logo |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 125 x 6,0 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 126 x 3,0 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 140 x 4,1 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 140 x 6,7 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 160 x 4,7 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 160 x 7,7 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 200 x 4,0 mm / Length = 3000 mm / Colour: black |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 250 x 6,2 mm / Length = 3000 mm / Farbe: rotbraun |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |
|  |  |  |
|  | Pos:....................... | PVC split duct with one sided adhered H-profile |
|  |  | 315 x 7,7 mm / Length = 3000 mm / Farbe: rotbraun |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

