# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

###### KURO – Information for invitation to tender

**Product:**

# NrNr

#### PVC split duct with snap lock

* Sockets not necessary
* Continous line is achieved by deplacing

the upper halve without sleeves

* Fine sand-proof

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC split duct with snap lock |
|  |  | 110 x 3,2 mm (ID 110 mm) / Length = 3000 mm |
|  |  | Out of PVC-U / Colour: grey  System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  |  |  |