# ..\..\Bilder\LOGO\Kunststoffe\KURO_Logo.gif

###### KURO – Information for invitation to tender

**Ein Bild, das Text, Diagramm, Reihe, parallel enthält.

Automatisch generierte Beschreibung**

**Product:**

#### PVC transition to cable shape stone

# Information for invitation to tender:

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC transition to cable shape stone  Plain end bevelled |
|  |  | From integral seal socket to cable shape stone  Colour: black / 110 x 100 mm |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |

|  |  |  |
| --- | --- | --- |
|  | Pos:....................... | PVC transition to cable shape stone  Plain end bevelled |
|  |  | From solvent welded socket to cable shape stone  Colour: black / 110 x 100 mm |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |
|  | Pos:....................... | PVC transition to cable shape stone  Plain end bevelled |
|  |  | From integral seal socket to cable shape stone  Colour: black / 126 x 120 mm |
|  |  | System KURO o. glw. (www.kuro-kunststoffe.de), |
|  |  | supply and install, as an addition to pos: ........... |
|  |  |  |
|  |  | Amount:............Pieces UP: ....... TP: ........ |